## Table 1
ITEM | QTY | MANUFACTURER | MODEL # | DESCRIPTION | CATEGORY
1 | 3 | CUSTOM | NMN | DRY BOXES, PLEXIGLASS, 12"X12"X12" DEEP, 1 DOOR, 3 SHELVES. | CLEAN ROOM HEPA FILTERS, ETC.
2 | 4 | CUSTOM | NMN | DRY BOXES, PLEXIGLASS, 18"X18"X14" DEEP, 2 DOOR, 4 SHELVES. | CLEAN ROOM HEPA FILTERS, ETC.
3 | 1 | LIBERTY | NMN | PASS THRU BOX, STAINLESS STEEL, PLEXIGLASS PASS THRU DOORS, 24"X24"X24" DEEP | CLEAN ROOM HEPA FILTERS, ETC.
4
5 | 1 | PMS | LASAIR 510 | LASER PARTICLE COUNTER, 0.5 TO 10 UM | CLEAN ROOM HEPA FILTERS, ETC.
6 | 1 | PMS | LPC 101 | LASER PARTICLE COUNTER, 0.1 TO 1 UM | CLEAN ROOM HEPA FILTERS, ETC.
7 | 1 | PMS | LPC 555 | LASER PARTICLE COUNTER, 0.3, 0.5, 1.5 UM | CLEAN ROOM HEPA FILTERS, ETC.
8 | 1 | PMS | LPC 1001 | LASER PARTICLE COUNTER, 0.1 TO 1 UM | CLEAN ROOM HEPA FILTERS, ETC.
9
10
11
12 | 1 | PURE AIRE | NMN | DESCICCATOR CABINET WITH BUILT HEPA FILTER | CLEAN ROOM HEPA FILTERS, ETC.
13 | 1 | ULTRA CLEAN PRODS | 1400-SA | MOTORIZED SHOE CLEANER WITH BUILT-IN VACUUM | CLEAN ROOM HEPA FILTERS, ETC.
14 | 3 | MCT | 6603 | DIE REMOVER, HYDROGEN FLAME REWORK MACHINE | DIE ATTACH & REMOVAL EQUIPMENT
15 | 2 | SEC | 4450 | DIE REMOVER, HOT GAS (HOT SHOT) REWORK MACHINE | DIE ATTACH & REMOVAL EQUIPMENT
16 | 1 | SEMI EQUIP. CORP. | 1000-1041 | TWEEZER BONDER | DIE ATTACH & REMOVAL EQUIPMENT
17 | 8 | SEMI EQUIP. CORP. | 4400A | DIE REMOVER, HOT GAS (HOT SHOT) REWORK MACHINE | DIE ATTACH & REMOVAL EQUIPMENT
18 | 2 | K&S | 6490 | AUTOMATIC EPOXY DIE BONDER, FOR HYBRID MICROCIRCUITS, LARGE AREA, COMPUTER, DISPLAY, DISPENSER, MANUALS. | DIE ATTACH EQUIPMENT
19 | 2 | SEMI EQUIP. CORP. | 4000 | EUTECTIC DIE BONDER WITH SINGLE HOT GAS JETS AND HEATED WORK HOLDER | DIE ATTACH EQUIPMENT
20 | 2 | SEMI EQUIP. CORP. | 4000 | EUTECTIC DIE BONDER WITH DUAL HOT GAS JETS AND HEATED WORK HOLDER | DIE ATTACH EQUIPMENT
21 | 4 | WESTBOND | 7316A | EUTECTIC DIE ATTACH, MICROSCOPE, HEATED CHUCK | DIE ATTACH EQUIPMENT
22
23 | 1 | BLUE M | MR3201A | TEMPERATURE BATH, 12"X8"X6", STAINLESS STEEL | HEAT EXCHANGERS, CHILLERS, BATHS
24 | 1 | FTS SYSTEMS | LDFB-75C-2 | TEMPERATURE BATH, HEAT EXCHANGER, 2'X1'X1.5' | HEAT EXCHANGERS, CHILLERS, BATHS
25 | 1 | HAAKE | KT 33 | TEMPERATURE BATH, HEAT EXCHANGER | HEAT EXCHANGERS, CHILLERS, BATHS
26 | 2 | LAUDA | K-4/R | TEMPERATURE BATH, HEAT EXCHANGER | HEAT EXCHANGERS, CHILLERS, BATHS
27 | 1 | NESLAB | 750 | ENDOCAL 750, HEAT EXCHANGER | HEAT EXCHANGERS, CHILLERS, BATHS
28 | 1 | NESLAB | 850 | ENDOCAL 850, HEAT EXCHANGER | HEAT EXCHANGERS, CHILLERS, BATHS
29 | 1 | NESLAB | EN-350 | FLOW-THRU COOLER | HEAT EXCHANGERS, CHILLERS, BATHS
30 | 1 | NESLAB | EX200 | EXACAL | HEAT EXCHANGERS, CHILLERS, BATHS
31 | 1 | NESLAB | RTE 5B | ENDOCAL TEMPERATURE BATH | HEAT EXCHANGERS, CHILLERS, BATHS
32 | 1 | NESLAB | RTE 5DD | TEMPERATURE BATH, HEAT EXCHANGER | HEAT EXCHANGERS, CHILLERS, BATHS
33 | 2 | NESLAB | RTE-5B | ENDOCAL TEMPERATURE BATH | HEAT EXCHANGERS, CHILLERS, BATHS
34 | 2 | VISTA SCIENTIFIC | NMN | HELIUM CHILLER | HEAT EXCHANGERS, CHILLERS, BATHS
35 | 3 | ATHENA CONTROLS | EKESI-100 | TEMPERATURE CONTROLLER, 30A LOAD SWITCH, THERMOCOUPLE | HYBRID MANUFACTURING EQUIPMENT
36 | 2 | B & W ENGG | BW-LPD-B2000 | PIND TESTER | HYBRID MANUFACTURING EQUIPMENT
37 | 1 | BECKMAN | L2-65B | ULTRA CENTRIFUGE, 0 TO 100000 RPM | HYBRID MANUFACTURING EQUIPMENT
38 | 1 | DUPONT | 303100.904 | MOISTURE MONITOR | HYBRID MANUFACTURING EQUIPMENT
39 | 1 | ELECTROVERT | NMN | WAVE DIPPER, LEAD TINNING OPERATION | HYBRID MANUFACTURING EQUIPMENT
40 | 2 | GAST | 240 | VACUUM PUMPING SYSTEMS | HYBRID MANUFACTURING EQUIPMENT
41
42 | 1 | LINDBERG | NMN | 1500 DEG TUBE FURNACE WITH CONTROLLER | HYBRID MANUFACTURING EQUIPMENT
43 | 1 | NORTON INDS | NMN | JAR ROLLERS FOR ALL THICK FILM PASTES, ADJUSTABLE ROLLERS, 4 JARS, UP TO 5 GALLON CAPACITY | HYBRID MANUFACTURING EQUIPMENT
44 | 5 | THERMOLYNE | NMN | HOT PLATES, ALL SIZES | HYBRID MANUFACTURING EQUIPMENT
45 | 1 | TRIO-TECH | 481 & 481F | BUBBLE TESTER & FILTER | HYBRID MANUFACTURING EQUIPMENT
46 | 1000'S | CUSTOM | NMN | GRAPHITE TOOLING 1000'S FOR SUBSTRATE ATTACH | HYBRID MANUFACTURING TOOLING
47 | 1000'S | CUSTOM | NMN | TOOLING, SUBSTRATE, ATTACH | HYBRID MANUFACTURING TOOLING
48 | 4 | TERRA UNIVERSAL | NMN | INSPECTION STATION, PLEXIGLASS, PARTICLE CONTROLLED, AIR BLOWERS AND LIGHTS | INSPECTION STATIONS
49 | 1 | CARPENTER MFG | 88-D | MAGNET WIRE STRIPPER | MAGNETICS MANUFACTURING EQUIPMENT
50 | 1 | CLARK HESS | MODEL 258 | VAW METER, DIGITAL | MAGNETICS MANUFACTURING EQUIPMENT
51 | 1 | GERTSCH | 18R | RATIO TRAN | MAGNETICS MANUFACTURING EQUIPMENT
52 | 1 | GERTSCH | RT7 | RATIO TRAN | MAGNETICS MANUFACTURING EQUIPMENT
53 | 1 | RUSH | L2 | WIRE STRIPPER | MAGNETICS MANUFACTURING EQUIPMENT
54 | 1 | ACCUSEAL | 35-333 | PLASTIC BAG SEALER | MISCELLANEOUS MANUFACTURING
55 | 2 | AMERICAN STERILIZER | 576A | STERILIZER, CATALOG #613R | MISCELLANEOUS MANUFACTURING
56 | 1 | DYNASTAT | 120-2 | IONIZING BLOWER | MISCELLANEOUS MANUFACTURING
57 | 2 | MARKV | NMN | AUTOMATIC EPOXY COMPONENT BENDER AND CUTTER, AXIAL LEAD | MISCELLANEOUS MANUFACTURING
58 | 4 | MEISEL | P1056-H | THERMAL WIRE STRIPPER, HOT TWEEZER | MISCELLANEOUS MANUFACTURING
59 | 3 | B & L | NMN | MICROSCOPE, ILLUMINATORS, RECONDITIONED, | OPTICAL, MICROSCOPES
60 | 5 | B & L | STEREOZOOM 7 | MICROSCOPE, STEREOZOOM 7 WITH A-STAND AND ILLUMINATOR 10X, 15X, 20X EYEPIECES, RECONDITIONED | OPTICAL, MICROSCOPES
61 | 1 | B & L | STEREOZOOM 7 | MICROSCOPE, STEREOZOOM 7 WITH A-STAND AND ILLUMINATOR 10X, 15X, 20X EYEPIECES, RECONDITIONED | OPTICAL, MICROSCOPES
62 | 4 | B & L | STEREOZOOM 4 | MICROSCOPE, STEREOZOOM 4 WITH E-STAND AND ILLUMINATOR 10X, 15X, 20X EYEPIECES, RECONDITIONED | OPTICAL, MICROSCOPES
63 | 1 | NIKON | NMN | MICROSCOPE, INSPECTION, STEREO, FIXED 10X OR 20X WITH STAND AND ILLUMINATOR | OPTICAL, MICROSCOPES
64 | 1 | BENCHMARK | 583 | SEALING CHAMBER, 2 PERSON STAINLESS STEEL GLOVE BOX, MOISTURE GAUGE, 2 VACUUM OVENS, COMPUTER, MONITOR USABLE WITH ANY PACKAGE SEALER | PACKAGE SEALERS AND DELIDDERS
65 | 1 | BENCHMARK | 8000 | SEAM SEALER | PACKAGE SEALERS AND DELIDDERS
66 | 1 | SHARP PRECISION | SP112 | DELIDDER, MCM PACKAGE | PACKAGE SEALERS AND DELIDDERS
67 | 1 | SLEE SUPERIOR | 388 | WELDING POWER SUPPLY | PACKAGE SEALERS AND DELIDDERS
68 | 3 | SSEC | 188 | DASP PROGRAMMER FOR SSEC SEALING SYSTEM | PACKAGE SEALERS AND DELIDDERS
69 | 1 | SSEC | SSPS | SEAM SEALER POWER SUPPLY | PACKAGE SEALERS AND DELIDDERS
70 | 3 | SUPERIOR | 93 | MASTER CONTROL PANEL FOR SSEC SEALING SYSTEM | PACKAGE SEALERS AND DELIDDERS
71 | 1 | TM VACUUM | 527-A | WELDING POWER SUPPLY | PACKAGE SEALERS AND DELIDDERS
72 | 1 | TRIO-TECH | NMN | Auto Clave | PACKAGE SEALERS AND DELIDDERS
73 | 1 | MICROMANIPULATOR | A-486-1D | GAS PRESSURISATION SYSTEM | PACKAGE SEALERS AND DELIDDERS
74 | 3 | MICROMANIPULATOR | 450 | XYZ PROBE, MICROPOSITIONER | PROBE STATIONS, PROBES
75 | 3 | RUCKER & KOLLS | 550 | XYZ PROBE, MICROPOSITIONER | PROBE STATIONS, PROBES
76 | 2 | SIGNATONE | RK322 | XYZ PROBE, MICROPOSITIONER | PROBE STATIONS, PROBES
77 | 1 | WENTWORTH |  | HOT CHUCK, 4", CONTROLLER, DARK BOX | PROBE STATIONS, PROBES
78 | 1 | -------------- | MP-1000 | PROBE STATION, B & L OPTICS | PROBE STATIONS, PROBES
79 | 1 | WENTWORTH | MP-1000 | AUTOMATIC PROBE STATION WITH PROBE CARD HOLDERS, 6" CHUCK, HEATED CHUCKS, LOTS OF SPARE PARTS, B & L MICROZOOM OPTICS 10X EYEPIECES, 2.5X, 8X, 25X OBJECTIVES, OPTIONAL 50X OBJECTIVE, OPTIONAL CAMERA SYSTEM AND VIDEO MONITOR | PROBE STATIONS, PROBES
80 | 23 | WENTWORTH | NHA770 | PROBE TIPS FOR PRO 191 | PROBE STATIONS, PROBES
81 | 2 | WENTWORTH | PRO195 | MAGNETIC BASE XYZ PROBES | PROBE STATIONS, PROBES
82 | 2 | WENTWORTH | PRO191 | PROBES | PROBE STATIONS, PROBES
83 | 4 | WENTWORTH | PV0196LH | VACUUM BASE XYZ PROBE LEFT HAND | PROBE STATIONS, PROBES
84 | 3 | WENTWORTH | PV0196RH | VACUUM BASE XYZ PROBE RIGHT HAND | PROBE STATIONS, PROBES
85 | 2 | GERLING LABS | GL 107/GL113 | GENERATORS, POWER, 2.56MHz, 3.3KW WATER COOLED WITH ISOLATORS, CIRCULATORS ETC FOR MICROWAVE HEATING, PLASMA APPLICATIONS, MANUALS AND SET-UP AND CONSULTING INCLUDED | RF-MICROWAVE
86 | 1 | HP | 435B | POWER METER WITH HP8481A DETECTOR | RF-MICROWAVE
87 | 1 | HP | 593078 | VHF SWITCH, HP-IB WITH 19" FRONT PANEL MOUNT | RF-MICROWAVE
88 | 1 | HP | 536A | FREQUENCY METER | RF-MICROWAVE
89 | 1 | HP | 8481A | POWER SENSOR (SOLD WITH HP435A POWER METER) | RF-MICROWAVE
90 | 1 | HP | 8616A | SIGNAL GENERATOR 1.8 TO 4.5 GHZ | RF-MICROWAVE
91 | 1 | NARDA | 3000-10 | 10DB COUPLER | RF-MICROWAVE
92 | 1 | PRD ELECTRONICS | S4420-20 | 20DB COUPLER | RF-MICROWAVE
93 | 1 | DEHAART | AOL-12-SC | SEMI AUTOMATIC SCREEN PRINTER, 6"X6" SUBSTRATES, MANUALS | SCREEN PRINTERS
94 | 1 | FORSLUND | 77 | SEMI AUTOMATIC SCREEN PRINTER | SCREEN PRINTERS
95 | 1 | AUSTIN AMERICA TECH. | ARS 218 | DRYER/DEVELOPER | SEMICONDUCTOR PROCESSING
96 | 1 | INTERLAB | NMN | DI WATER HEATER | SEMICONDUCTOR PROCESSING
97 | 1 | SEC (RADIANT ENERGY) | MODEL 2800 (BS-102) | SEMICONDUCTOR WAFER SCRIBER, 2" TO 3" WAFERS. AUTOMATIC AND SEMIAUTOMATIC MODES, TIPS INCLUDED | SEMICONDUCTOR PROCESSING
98 | 1 | VERTEQ | 1600, SN 1654 | WAFER WASHER, DI WATER, DRYER, CONFIGURABLE FOR UP TO 6" WAFERS | SEMICONDUCTOR PROCESSING
99 | 80 | 3M | 2XX-257-00-0605 | SOCKETS HYBRID BURN-IN | SOCKETS. BURN-IN TEST
100 | 100 | 3M/TEXTOOL | 80-6101-0460-8 | SOCKETS HYBRID BURN-IN | SOCKETS. BURN-IN TEST
101 | 100 | 3M/TEXTOOL | 236-2681-00-0602 | SOCKETS HYBRID BURN-IN, HYBRIDS OR MCM | SOCKETS. BURN-IN TEST
102 | 200 | 3M/TEXTOOL | 582-4376 | HYBRID CARRIER FOR BURN IN SOCKET | SOCKETS. BURN-IN TEST
103 | 20 | AMP | 55219-1 | CHIP CARRIER SOCKET, 100 POSITION | SOCKETS. BURN-IN TEST
104 | 500 | WELLS ELECTRONICS | 621-0140845 | BURN-IN OR TEST SOCKET, FLATBACK | SOCKETS. BURN-IN TEST
105 | 200 | WELLS ELECTRONICS | 628-0280845 | BURN-IN OR TEST SOCKET, 28 PIN FLATBACK | SOCKETS. BURN-IN TEST
106 | 108 | AKROMILLS | NMN | TOTE BOXES, PLASTIC, STACKABLE, 6"X8"4" | STORAGE
107 | 43 | AKROMILLS | NMN | TOTE BOXES, PLASTIC, STACKABLE, 9"X12"8" | STORAGE
108 | 2 | AMCO | NMN | 19" EQUIPMENT CABINETS, 24" DEEP, 80" HIGH, WITH OR WITHOUT CASTORS | TEST EQUIPMENT
109 | 1 | AMPHENOL-BORK | FXR | TEST OSCILLATOR 3.95-8.2 GHZ | TEST EQUIPMENT
110 | 1 | ASTROMED | DASH 4 | RECORDER, NEW 4 CHANNEL PORTABLE, PAPER, MANUALS, LEADS | TEST EQUIPMENT
111 | 1 | B&K | 3300 | PULSE GENERATOR | TEST EQUIPMENT
112 | 1 | BERTAN | 210-10N | POWER SUPPLY, 0 TO 10KV, 0-20MA | TEST EQUIPMENT
113 | 1 | BUD |  | BLOWER 19" RACKMOUNT 3.5" HIGH | TEST EQUIPMENT
114 | 1 | DORIC | DS-350-T3-M-T202 | THERMOMETER | TEST EQUIPMENT
115 | 8 | ELECTRONIC MEAS | EM 600-16-2-D | POWER SUPPLY, 0 TO 600 VDC, 0 TO 16 ADC | TEST EQUIPMENT
116 | 1 | EMCOR | NMN | 19" EQUIPMENT CABINETS, 24" DEEP, 30" HIGH, WITH OR WITHOUT CASTORS NEW | TEST EQUIPMENT
117 | 1 | GENERAL RADIO | 621 | DECADE RESISTANCE BOX | TEST EQUIPMENT
118 | 1 | GENERAL RADIO | 1454A | DECADE VOLTAGE DIVIDER | TEST EQUIPMENT
119 | 1 | HP | 3490 | MULTIMETER | TEST EQUIPMENT
120 | 1 | HP | 214B | PULSE GENERATOR | TEST EQUIPMENT
121 | 1 | HP | 3403A | TRUE RMS VOLTMETER | TEST EQUIPMENT
122 | 1 | HP | 6268B | POWER SUPPLY, 0 TO 40 V, 0 TO 30 A | TEST EQUIPMENT
123 | 1 | KIKUSUI | PLZ50-15A | ELECTRONIC LOAD, 50V, 15A | TEST EQUIPMENT
124 | 1 | KIKUSUI | PLZ50-50A | ELECTRONIC LOAD, 50V, 50A | TEST EQUIPMENT
125 | 1 | LAMBDA | LMF-12V | POWER SUPPLY 12V, 33A@40 DEG C | TEST EQUIPMENT
126 | 1 | LAMBDA | LT 824-42168-1 | POWER SUPPLY, 0 TO 60 VDC, 0 TO 50 ADC | TEST EQUIPMENT
127 | 10 | LAMBDA | NMN | 19" RACK MOUNT TRAYS FOR MODULAR POWER SUPPLIES | TEST EQUIPMENT
128 | 1 | LAMBDA | LMF 12-OV-Y | POWER SUPPLY 12V, 33A@40 DEG C, 17A@71 DEG C | TEST EQUIPMENT
129 | 1 | LAMBDA | LXS-EE-5-OV, LXD-D- 152 | POWER SUPPLY, TRIPLE, 5V@45A, +/- 12-15V ADJ@6.2A | TEST EQUIPMENT
130 | 5 | MCLEAN ENGG | NMN | BLOWER, 19" RACKMOUNT 3.5" HIGH | TEST EQUIPMENT
131 | 9 | MCLEAN ENGG | NMN | BLOWER, 19" RACKMOUNT 7.75" HIGH | TEST EQUIPMENT
132 | 1 | PACIFIC POWER SOURCE CORP | NMN | AC POWER SOURCE, 3 PHASE 1300VA/PHASE, 40-400HZ OUTPUT, CABINET WITH CASTORS | TEST EQUIPMENT
133 | 1 | SORENSEN | DCR 150-70 | POWER SUPPLY 0 TO 150 VDC, 0 TO70 ADC | TEST EQUIPMENT
134 | 1 | SPELLMAN | NMN | HIGH VOLTAGE POWER SUPPLY 0-5KV, 0-10MA | TEST EQUIPMENT
135 | 1 | SYSTRON DONNER | PQ50-1 | POWER SUPPLY, 50V, 1A | TEST EQUIPMENT
136 | 1 | TEKTRONIX | 2465 | OSCILLOSCOPE | TEST EQUIPMENT
137 | 2 | TEKTRONIX | 7613 | OSCILLOSCOPE MAINFRAME | TEST EQUIPMENT
138 | 1 | TEKTRONIX | 7854 | OSCILLOSCOPE MAINFRAME W/KEYBOARD | TEST EQUIPMENT
139 | 1 | TEKTRONIX | 7904 | OSCILLOSCOPE MAINFRAME | TEST EQUIPMENT
140 | 1 | TEKTRONIX | 465B | OSCILLOSCOPE, PROBES AND MANUAL | TEST EQUIPMENT
141 | 3 | TEKTRONIX | 7A13 | OSCILLOSCOPE PLUG-IN | TEST EQUIPMENT
142 | 2 | TEKTRONIX | 7A22 | OSCILLOSCOPE PLUG-IN | TEST EQUIPMENT
143 | 2 | TEKTRONIX | 7A22 | OSCILLOSCOPE PLUG-IN | TEST EQUIPMENT
144 | 3 | TEKTRONIX | 7A24 | OSCILLOSCOPE PLUG-IN | TEST EQUIPMENT
145 | 2 | TEKTRONIX | 7A26 | OSCILLOSCOPE PLUG-IN | TEST EQUIPMENT
146 | 2 | TEKTRONIX | 7B87 | OSCILLOSCOPE PLUG-IN | TEST EQUIPMENT
147 | 2 | TEKTRONIX | 7B92A | OSCILLOSCOPE PLUG-IN | TEST EQUIPMENT
148 | 1 | TEKTRONIX | C5 | OSCILLOSCOPE CAMERA | TEST EQUIPMENT
149 | 2 | TEKTRONIX | C50 | OSCILLOSCOPE CAMERA | TEST EQUIPMENT
150 | 2 | TEKTRONIX | C53 | OSCILLOSCOPE CAMERA | TEST EQUIPMENT
151 | 1 | TEKTRONIX | R7623 | OSCILLOSCOPE MAINFRAME | TEST EQUIPMENT
152 | 2 | TOPAZ | 53406-00P3 | POWER & LINE CONDITIONER, 3KVA, 120 VRMS, +15% TO -25% IN, 120 VRMS, +4% TO -8% OUT, INPUT CURRENT 35ARMS MAX, 60HZ | TEST EQUIPMENT
153 | 1 | TURNER DESIGNS | 30-000 | EPROM ERASER | TEST EQUIPMENT
154 | 1 | WAVETEK | 142 | SIGNAL GENERATOR | TEST EQUIPMENT
155 | 1 | WAVETEK | 185 | SWEEP GENERATOR | TEST EQUIPMENT
156 | 2 | BLUE M | OV-12A | STAINLESS STEEL LAB OVEN, TABLE TOP, 2 CU FT CHAMBER, SHELF | THERMAL CHAMBERS, OVENS
157 | 2 | BLUE M | 0V-8A | STAINLESS STEEL LAB OVEN, TABLE TOP, 1 CU FT CHAMBER, SHELF | THERMAL CHAMBERS, OVENS
158 | 1 | DELTA DESIGN | 3900 | TEMPERATURE CHAMBER | THERMAL CHAMBERS, OVENS
159 | 2 | NATIONAL |  | VACUUM OVEN, 12"X12"X12' CHAMBER | THERMAL CHAMBERS, OVENS
160 | 1 | RANSCO | 925-1-2-D-0-120/60 | TEMPERATURE CHAMBER | THERMAL CHAMBERS, OVENS
161 | 1 | COMCO | NMN | ABRASIVE TRIMMER, DUAL TANKS, TWO NOZZLES, SPARES, MANUAL | TRIMMER, ABRASIVE
162 | 1 | KORAD | NMN | LASER POWER SUPPLY | TRIMMER, LASER
163 | 1 | KORAD | NMN | LASER TRIMMER FOR TRIMMING THICK FILM OR THIN FILM RESISTORS ON SUBSTRATES | TRIMMER, LASER
164 | 4 | P/M INDS. | NMN | LASER POWER SUPPLY | TRIMMER, LASER
165 | 2 | P/M INDS. | NMN | LASER TRIMMER FOR TRIMMING THICK FILM OR THIN FILM RESISTORS ON SUBSTRATES, SPARE LASER HEADS AND POWER SUPPLIES | TRIMMER, LASER
166 | 1 | CREST INDS. | CDU-1812-R | ULTRASONIC CLEANER AND VAPOR DEGREASER, STAINLESS STEEL CLEAN ROOM STYLE, SELF CONTAINED WITH GENERATORS, REFRIGERATION, ETC 36"X12"X30" DEEP CHAMBER | ULTRASONIC CLEANERS
167 | 6 | DAGE | MF22A | PULL TESTER MICROSCOPE, 50, 100, 200 GRAM STRAIN GAGE, MANUAL, JOB HOLDERS | WIREBONDERS, GAP WELDERS
168 | 1 | EMB-SOLA | 1100 | WIRE BONDER, 0.7 TO 3 MIL ALUMINUM WIRE, POWER SUPPLY, AO OPTICS, WORK HOLDER, BONDING TIP, MANUAL Z | WIREBONDERS, GAP WELDERS
169 | 1 | EMB-SOLA | 1400 | WIRE BONDER, 0.7 TO 3 MIL ALUMINUM WIRE, POWER SUPPLY, HEATED WORK HOLDER, BONDING TIP AND MANUAL Z | WIREBONDERS, GAP WELDERS
170 | 1 | EMB-SOLA | 1400 | WIRE BONDER, 0.7 TO 3 MIL ALUMINUM WIRE, AO OPTICS, POWER SUPPLY, WORK HOLDER, BONDING TIP AND MANUAL Z | WIREBONDERS, GAP WELDERS
171 | 1 | HUGHES | HRW-100B | WELDING POWER SUPPLY | WIREBONDERS, GAP WELDERS
172 | 5 | HUGHES | HTT 650 | REFLOW SOLDER POWER SUPPLY | WIREBONDERS, GAP WELDERS
173 | 1 | HUGHES | MA-09-40 | AIR DRIVE HEAD CONTROL | WIREBONDERS, GAP WELDERS
174 | 1 | HUGHES | MCW550 | WELDING SUPPLY | WIREBONDERS, GAP WELDERS
175 | 25 | HUGHES | MLS-900-F-125W | RESISTANCE SOLDERING TIPS | WIREBONDERS, GAP WELDERS
176 | 4 | HUGHES | NMN | PARALLEL JAW ASSYS | WIREBONDERS, GAP WELDERS
177 | 1 | HUGHES | VTA 60 | GAP WELDER WITH BASE, B & L OPTICS, FOOT SWITCH | WIREBONDERS, GAP WELDERS
178 | 1 | HUGHES | VTA 92 | GAP WELDER WITH BASE, B & L OPTICS, FOOT SWITCH | WIREBONDERS, GAP WELDERS
179 | 6 | HUGHES | VTA 66 | PNEUMATICALLY DRIVEN WELD HEAD FOR RESISTIVE SOLDERING OR PARALLEL GAP WELDING | WIREBONDERS, GAP WELDERS
180 | 1 | HUGHES | VTA 70 | PNEUMATICALLY DRIVEN WELD HEAD FOR RESISTIVE SOLDERING OR PARALLEL GAP WELDING | WIREBONDERS, GAP WELDERS
181 | 1 | K & S | 484 | WIRE BONDER, 1-3 MIL ALUMINUM WIRE, ULTRASONIC POWER SUPPLY, MICROMETER ADJUST WORK HOLDER | WIREBONDERS, GAP WELDERS
182 | 1 | K & S | 2402 | WIRE BONDER, GOLD BALL BONDER, 0.7 TO 2 MIL GOLD WIRE, B & L OPTICS, HEATED WORK HOLDER | WIREBONDERS, GAP WELDERS
183 | 2 | MECHEL | 702 | EUTECTIC DIE ATTACH MACHINES, FOR PARTS | WIREBONDERS, GAP WELDERS
184 | 1 | MECHEL | 829 | WIRE BONDER, GOLD BALL BONDER, 0.7 TO 2.5 MIL GOLD WIRE, UTHE POWER SUPPLY, AO OPTICS, HEATED WORK HOLDER | WIREBONDERS, GAP WELDERS
185 | 1 | MECHEL | 909 | WIRE BONDER, 0.7 TO 3 MIL ALUMINUM WIRE, POWER SUPPLY, WORK HOLDER, B & L OPTICS | WIREBONDERS, GAP WELDERS
186 | 3 | ORTHODYNE | 20B | WIRE BONDER, 3 TO 35 MIL ALUMINUM WIRE, UINDEXER FOR MULTIPLE UNIT BONDING, POWER SUPPLY, WORK HOLDER, B & L OPTICS | WIREBONDERS, GAP WELDERS
187 | CALL | ORTHODYNE | 360 A, B, C | AUTOMATIC HEAVY WIRE BONDER | WIREBONDERS, GAP WELDERS
188 | 2 | UNITEK | 127 | PARALLEL GAP WELDER WITH FOOTSWITCH | WIREBONDERS, GAP WELDERS
189 | 1 | UNITEK | 1-124-05 | UNIBOND POWER SUPPLY | WIREBONDERS, GAP WELDERS
190 | 1 | UNITEK | 1-200-01 | POWER SUPPLY, CATALOG #PMI-3 | WIREBONDERS, GAP WELDERS
191 | 1 | UNITEK | 1-220-01 | POWER SUPPLY, CATALOG #PMI-70 | WIREBONDERS, GAP WELDERS
192 | 1 | UNITEK | 7-018-02 | FOOTSWITCH | WIREBONDERS, GAP WELDERS
193 | 1 | UNITEK | 9-001-01 | WELDING TRANSFORMER | WIREBONDERS, GAP WELDERS
194 | 1 | UNITEK | MICROPULL 4 | WIRE BOND PULL TESTER WITH KEYBOARD AND PRINTER | WIREBONDERS, GAP WELDERS
195 | 2 | UNITEK | MICROPULL 3 | WIRE BOND PULL TESTER | WIREBONDERS, GAP WELDERS
196 | 4 | UNITEK | 10-105-104 | WELDING POWER SUPPLY | WIREBONDERS, GAP WELDERS
197 | 6 | WESTBOND | 5400B, 5600B | SEMI AUTOMATIC ULTRASONIC AL/AU WEDGE/BALL BONDER, MONITOR, WORK HOLDER, HEATED WORK HOLDER FOR THERMALSONIC BONDING, MOTORIZED Z, MICROSCOPE | WIREBONDERS, GAP WELDERS
198 | 3 | WESTBOND | 70 PT-M | PULL TESTER MICROSCOPE, MOTORIZED STAGE | WIREBONDERS, GAP WELDERS
199 | 2 | WESTBOND | 7400A | THERMASONIC WIRE BONDER, 0.7 TO 3 MIL AU, SCOPE, HEATED CHUCK, POWER SUPPLY, MICROSCOPE | WIREBONDERS, GAP WELDERS
200 | 2 | WESTBOND | 7700A, 7700B | BALL WIRE BONDER, 0.7 TO 3 MIL AU, SCOPE, HEATED CHUCK, POWER SUPPLY, MICROSCOPE | WIREBONDERS, GAP WELDERS
201 | 1 | MARCH INSTRUMENTS | PLASMOD | BARREL ETCHER PLUS CONTROLLER | WIREBONDERS, GAP WELDERS
201 | 1 | MARCH INSTRUMENTS | PLASMOD | CONTROLLER
202 | 1 | K & S | 1471 | AUTOMATIC BONDER, AU WIRE WITH CASSETTE FEED MANUALS, SPARES ETC - TERRIFIC BUY-FULLY OPERATIONAL IDEAL FOR LARGE VOLUME IC MANUFACTURING | WIREBONDERS, GAP WELDERS